## Sheet1
commodity | type | findNumber | system | specification | isoDrawingReference | description | size | function | manufacturer | modelOrPartNumber | codeOfConstruction | bodyMaterial | temperatureRating | pressureRating | protectingReliefValve | rvSetPressure | notes
GN2 | MV | 5222 | 402000 | 816018 | GN2 High Pressure Piping | Valve, Globe, Manual | 1" MSP | Inlet/Outlet Isolation Valve for MARS 26/27, GN2 HP Storage Vessels | Tescom | 30-1201-316 | B31.3 | 316 SS | -65 to 165 | 6000 | RV 3007 | 6000
GN2 | MV | 5223 | 402000 | 816018 | GN2 High Pressure Piping | Valve, Globe, Manual | 1/4" MST | Isolation Valve for PG-5224, MARS 26/27 Service Panel | Dragon / Tescom | TPN: 1 3 5 4 T 3 APN: 30-1101-304 | B31.3 | 316 SS | to 200 | 6000 | RV 5226 | 6000 | CCB167
GN2 | PG | 5224 | 402000 | 816033 | GN2 High Pressure Piping | Gage, Pressure | 1/4" MST | GN2 HP Storage Bottle Pressure , MARS 26/27 | Ashcroft | 45-1379-SSHEJBXC4NHSG 10000 | B40.100 | 316 SS | -50 to 200 | See Notes | RV 5226 | 6000 | Gauge range 10000 psi
GN2 | MV | 5225 | 402000 | 816018 | GN2 High Pressure Piping | Valve, Diverter, Manual | 1" MSP | GN2 HP Storage Bottle Safety Vent Diverter, MARS 26/27 | Butech | 3DVKOS108-HLD-43-43-43B | B31.3 | 316 SS | -20 to 400 | 10000 | RV 5226 | 6000
GN2 | RV | 5226 | 402000 | 816020 | GN2 High Pressure Piping | Valve, Relief | 3/4" x 1" | GN2 HP Storage Bottle Safety Vent (Primary), MARS 26/27 | Anderson Greenwood | 81SJ68-4 | ASME Section VIII | SS SA351-CF8M | -423 to 500 | 10000 | N/A | 6000
GN2 | RV | 5227 | 402000 | 816020 | GN2 High Pressure Piping | Valve, Relief | 3/4" x 1" | GN2 HP Storage Bottle Safety Vent (Secondary), MARS 26/27 | Anderson Greenwood | 81SJ68-4 | ASME Section VIII | SS SA351-CF8M | -423 to 500 | 10000 | N/A | 6000
GN2 | MV | 5231 | 402000 | 816018 | GN2 High Pressure Piping | Valve, Plug, Manual | 1" MSP | Vent Valve for MARS 26/27, GN2 HP Storage Vessels | Dragon | 818 05 16 KT - 749 | B31.3 | 316 SS | to 200 | 6000 | RV 5226 | 6000
GN2 | MARS | 26 | 402000 | MARS | GN2 High Pressure Piping | GN2 Storage Bottle | 125 cu.ft. | GN2 HP storage | [6 empty] | RV 5227 | 6000